Standard Operating Procedure Requirements for

BSL2 and/or ABSL2 Containment

The Principal Investigator (PI) has the responsibility to inform the laboratory personnel of the appropriate research procedures.  When using hazardous or regulated biological agents the PI must prepare a written Standard Operating Procedure (SOP) outlining the necessary precautions to safely conduct research.  An SOP is a set of specific guidelines designed to address the methods that will be used and the safe handling of biological agents. The SOP must be available in the laboratory.

The SOP is a valuable tool and worth the preparation time. A well-written SOP can be used to satisfy several compliance requirements.  SOP should be written for all procedures that pose an identified potential risk to the health and safety of the laboratory personnel, although a separate SOP does not need to be written for each individual experiment, procedures with the same hazards can be combined into one SOP.

The process of writing SOPs requires an individual to think through all steps of a procedure and perform a risk assessment before work has begun. The best approach to writing an SOP is to do it, write it and test it.  Be brief and succinct; the shorter the better. An SOP template is provided below.

ABSL2 and BSL2 requirements also include appropriate biohazard labeling.  An example of appropriate signage for a door is attached at the end of the template for your use.  Remember, other signs may also be appropriate, as long as they include the necessary information (Biohazard Symbol, Biocontainment Level, name of agent and any necessary requirements to take prior to entering or exiting the lab, and PI and lab contact information).

Sample Standard Operating Procedure Template for Safe Handling of

Human Blood and/or Cells at BSL2 Containment

Title of Procedure: Using 293T cells—a human cell line.

Introduction and Purpose of Work:  293 cells are used for transfection, protein purification, and microscopy in the lab.

| PI: SH SODERLING | Lab Location: Animal Housing Location (must be approved by DLAR): |
| --- | --- |
| Issue Date: 2/25/09 | Revision Date: 12/6/16 |
| Prepared by: Patrick Devlin | Biological Safety Approval: |

Applicable Regulatory Statutes / Guidelines:

OSHA Bloodborne Pathogens Standard (http://www.osha.gov/pls/oshaweb/owadisp.show_document?p_table=STANDARDS&p_id=10051) , CDC/NIH’s Biosafety in the Microbiological and Biomedical Laboratories (http://www.cdc.gov/od/ohs/biosfty/bmbl5/bmbl5toc.htm)

RISK ASSESSMENT:

Hazard Identification and Risk of Exposure to the Hazards:  The risk of exposure is very low/MINIMAL.

Routes of Transmission: Prior to assigning containment requirements, it is imperative to understand the routes of transmission.

Some issues to address:

1. What are the exposure routes/risks of most concern?  Sharps exposures, Splash exposures, Non-intact skin exposures, other exposures such as food, drink, inanimate objects). Describe the sharps and fragile glass items that will be used (i.e. capillary tubes, needles, glass pipettes, Pasteur pipettes).

2. If applicable, are there any off target effects (insertional mutagenesis, etc.) from exposure to the biohazardous and/or recombinant material? The risk is minimal; however because 293 cells are derived from a human cell line, there is a chance of being exposed to infectious agents such as hepatitis B and/or HIV.

3. What are the consequences of exposure to the biohazardous and/or recombinant material?

None.

MEDICAL CONSIDERATIONS:

Medical Screening and Surveillance (if necessary): For example, all personnel that actively handle human cell cultures or human specimens in the lab must complete the following through Employee Occupational Health and Wellness (EOHW):

- EOHW health screening for laboratory worker

- Must be offered the hepatitis B vaccination

Personnel may also be offered vaccines or special counseling depending on the organism(s) handled in the lab and availability of vaccines or prophylaxis.

Accidental exposures, such as splash to the face or a sharps injury shall be reported immediately to EOHW by dialing 684-8115.  The EOHW representative will help categorize the risk of developing occupationally-acquired infection and provide advice on an appropriate post-exposure treatment.

PRECAUTIONS:

All laboratory work shall fully comply with biosafety level 2 (BSL2) containment described in the current edition of the guideline: CDC/NIH’s Biosafety in the Microbiological and Biomedical Laboratories: http://www.cdc.gov/od/ohs/biosfty/bmbl5/bmbl5toc.htm

Procedural Methods and Materials: Incorporate each category as it pertains to your work:

Door Signage & Equipment Labeling: (ex., doorway (Complete the attached sign(s) when applicable), refrigerators, incubators, cage signs)

  - Posting of signs is research staff’s responsibility!

  - Signs will be posted at all times when hazardous material is present.

  - Signs will be removed by research staff when hazardous material is no longer present.

Access to laboratory:  Locks

Personal Protective Equipment (PPE): Gloves, lab coats, goggles, face shield

Methods to minimize personal exposure: sharps containers, biohazard containers. PPE!

Methods to prevent the release of infectious agents/protect workers from aerosols, splashes, splatters: vacuums in hoods. PPE.

Specimen transport and removal of material(s) from the laboratory: leak proof transport containers Standard microbiological methods required: handwashing after removal of gloves and before leaving the work area, no mouth pipetting, no food or drink in laboratory refrigerators, no eating in lab work area.

Cleaning & Disinfection: all surfaces are cleaned with 70% etoh. All surfaces that come into direct contact with cell lines are cleaned with 1:10 dilution of household bleach.

Waste Generation and Disposal Methods: dry waste is placed into orange autoclave bags and autoclaved. Liquid waste is treated with bleach and put down the sink with lots of water. Sharps are autoclaved.

Spill and Accident Response Procedure: Outside of a BSC: if spill is a respiratory hazard evacuate for 30 minutes to allow aresols to settle. Place absorbent towels over the spill, apply freshly prepared 10% bleach solution to entire area of spill starting on the outside and working inward, pick up sharp items with mechanical device. Place all clean up materials in biohazard bag and autoclave. Small spills are cleaned with bleach working from the outside to the inside of the spill.

If spill is a respiratory mark the area as SPILL, DO NOT ENTER and evacuate 30 minutes to allow aerosols to settle. After 30 minutes, proceed with the following.

Personnel Exposure to Biohazards

- Report exposure by calling the 24 hour Employee Health Exposure Hotline (115 from a campus phone/684-8115 from a non-campus phone)

- Complete the Report of Occupational Injury or Illness form found at http://www.hr.duke.edu/forms/injury.html

TRAINING:

Training Requirements: Workers conducting research under this procedure must comply with the following training requirements:

- Complete online Laboratory Safety-General training provided by Duke’s Occupational & Environmental Safety Office.  This training is required annually and is documented by OESO.

- Complete the online Biosafety Level 2 and BBP Training for Lab Workers.

- All personnel shall read and fully adhere to this SOP.

- P.I. will keep documentation of personnel reading and understanding this lab-specific SOP using a signature page (example attached).

For Lab use

Example of appropriate signage for BSL2 laboratory doorway: PLEASE COMPLETE and POST IT!

AUTHORIZED PERSONNEL ONLY!

BIOHAZARD

2

BIOSAFETY LEVEL

Principal Investigator: __SODERLING______________

Agent (s): ______HEK 293______________________

Bldg: NANALINE_____	Room:  __324________

Special Instructions/ Requirements Prior to Entry or Exit (i.e. personal protective equipment, vaccination):

| EMERGENCY CONTACT/ ADVICE | CONTACT | WORK PHONE | HOME PHONE or PAGER |
| --- | --- | --- | --- |
| PRIMARY | Scott Soderling | 9196845634 | 6849001 |
| SECONDARY | Patrick Devlin | 9196845634 | 9522124563 |
| BIOSAFETY OFFICE | Debra L. Hunt | 684-8822 | 970-6012 |

For animal use

Example of appropriate signage for ABSL2 laboratory doorway: PLEASE COMPLETE and POST IT!

AUTHORIZED PERSONNEL ONLY!

BIOHAZARD

2

ANIMAL BIOSAFETY LEVEL

Principal Investigator: ________________________

Agent (s): ___________________________________

Bldg: ___________	Room:  _____________ (must be space approved by DLAR for ABSL2)

Special Instructions/ Requirements Prior to Entry or Exit (i.e. personal protective equipment, vaccination):

| EMERGENCY CONTACT/ ADVICE | CONTACT | WORK PHONE | HOME PHONE or PAGER |
| --- | --- | --- | --- |
| PRIMARY | Scott Soderling | 9196845634 | 6849001 |
| SECONDARY | Patrick Devlin | 9196845634 | 9522124563 |
| BIOSAFETY OFFICE | Debra L. Hunt | 684-8822 | 970-6012 |

Signature Page:

Standard Operating Procedure for Handling

[List organism(s)] at BSL2/ABSL2 [select appropriate environment(s)] Containment

“I have read and understand this SOP. I agree to fully adhere to its requirements.”